RESPONSE FORM - Public Health & Housing

| Planning West Suffolk Council West Suffolk House Western Way Bury St Edmunds Suffolk |  |  |  | Case Officer: |  |  | Ed Fosker - DC/23/0012/FUL |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Application No: |  |  | DC/23/0012/FUL |  |  |  |
|  |  |  |  | Consultation Period Expires: |  |  | 08/03/2023 |  |  |  |
| Regulatory Officer (Name): |  |  |  | Dominic Owner |  |  |  |  |  |  |
| Regulatory Reference Number: |  |  |  | WK/202348855 |  |  |  |  |  |  |
| CONSULTATION ON APPLICATION RECEIVED BY LOCAL PLANNING AUTHORITY |  |  |  |  |  |  |  |  |  |  |
| PROPOSAL: |  | Planning application - a. conversion of existing light industrial depot building (class E) to nine apartments (class C3) b. external car and bicycle parking, refuse area and landscaping |  |  |  |  |  |  |  |  |
| LOCATION: |  | Hazel Stub Depot, Burton End, Haverhill, Suffolk, CB9 9AF |  |  |  |  |  |  |  |  |
| Sections(s) responding (please tick): |  |  |  |  |  |  |  |  |  |  |
| Contaminated Land |  |  | Local Air Quality |  |  | Private Water Supplies |  |  |  |  |
| Sustainable Development |  |  | Environmental Permitting Issues |  |  | Commercial Environmental Health |  |  |  |  |
| Licensing |  |  | Public Health & Housing |  |  |  |  |  |  |  |
| Do the Public Health & Housing object to this Application? |  |  |  |  |  |  |  | Yes | No |  |
| Comments to explain why object/support the application: |  |  |  |  |  |  |  |  |  |  |
| Suggested conditions or amendments: - The Building envelope of the dwellings shall be constructed as to provide appropriate sound attenuation against noise. The acoustic insulation of the dwelling unit within the proposed development shall be such as to ensure noise does not excess an LAeq (16hrs) of 35dB (A) within bedrooms and living rooms between 23:00 and 07:00hrs. The noise levels specified in this condition shall be achieved with the windows closed and other means of ventilation provided. Reason: To protect the amenity of future occupiers from noise and disturbance, in accordance with policies DM2 and DM14 of the West Suffolk Joint Development Management Policies Document 2015, Chapter 15 of the National Planning Policy Framework and all relevant Core Strategy Policies. - The burning of any waste arising from the development hereby permitted shall be prohibited at any time within the application site. Reason: To ensure that the development will not have a negative impact on ground and surface water and to protect the amenity of adjacent areas, in accordance with policies DM6 and DM32 of the West Suffolk Joint Development Management Policies Document 2015, Chapters 14 and 15 of the National Planning Policy Framework and all relevant Core Strategy Policies. - Demolition or construction works shall not take place outside 08:00 hours to 18:00 hours Mondays to Fridays and 08:00 hours to 13:30 hours on Saturdays and at no time on Sundays, public holidays or bank holidays. Reason: To protect the amenity of occupiers of adjacent properties from noise and disturbance, in accordance with policies DM2 and DM14 of the West Suffolk Joint Development Management Policies Document 2015, Chapter 15 of the National Planning Policy Framework and all relevant Core Strategy Policies. Informative Noise, Vibration and Dust The principal contractor and any sub-contractors must ensure compliance with current legislation on noise, vibration and dust control including the Environmental Protection Act 1990 and the Control of Pollution Act 1974. Relevant Codes of Practice set out procedures for dealing with the control of noise and vibration on construction and open sites are contained in BS 5228-1:2009+A1:2014 ‘Code of practice for noise and vibration control on construction and open sites’. |  |  |  |  |  |  |  |  |  |  |
| Observations on non planning issues: |  |  |  |  |  |  |  |  |  |  |
| Date: 31 July 2026 |  |  |  |  |  |  |  |  |  |  |