**DISCHARGE OF CONDITON**

Date: 08-08-2018

Dear Penny

Planning Application No. SE/09/1283

Location Address: Land NW Anne Suckling’s Lane little Wratting

I now have confirmation that the requested 4 Fire Hydrants, under Condition B19, for the above planning application number have been agreed for installation with Anglian Water, therefore this condition can be discharged.

Kind regards,

Mrs A Kempen

Water Officer

Suffolk Fire and Rescue Service